KTO011 KTS011 Temperature Controller

Description:

The shell of our mechanical thermostat is made of high-quality plastic material, safe and durable to use. Its temperature controlling range is from 0℃ to 60℃, perfect for using to control heater, filter fan, cooling equipment and other signal device in your home, market and so on. It has a large data scale and an adjustable button is for easy and convenient to use. And it adopts standard rail clip design, easy to install and disassemble. Such a practical thermostat, worth buying!

Features:

The shell of our thermostat is made of high-quality plastic material with fine workmanship, environmental-friendly, safe, durable to use.

Its temperature controlling range is from 0℃ to 60℃, perfect for using to control heater, filter fan, cooling equipment and other signal device in your home, market and so on.

It has a large data scale and an adjustable button is for easy and convenient to adjust the controlling temperature, and the button color(red/blue) of thermostat could be choose for you.

Adopting standard rail clip design, 4 feet holders, easy to install and disassemble.

Circuit interfaces in the bottom of thermostat can make wire connection become more sturdy and safer.

Specifications:

| Switch temperature difference | 7K (± 4K tolerance) |
| --- | --- |
| Sensor element | thermostatic bimetal |
| Contact type | snap-action contact |
| Service life | > 100,000 cycles |
| Max. Switching capacity | 250VAC, 10 (2) A |
|  | 120VAC, 15 (2) A |
|  | DC 30W |
| Connection | 2-pole terminal, 2.5mm² stranded wire |
| Mounting | clip for 35mm DIN rail, EN60715 (or for exit filter EF 118 Series) |
| Casing | plastic according to UL94 V-0, light grey |
| Dimensions | 60 x 33 x 43mm |
| Weight | approx. 40g |
| Fitting position | variable |
| Operating / Storage temperature | -45 to +80°C (-49 to +176°F) |
| Operating / Storage humidity | max. 90 % RH (non-condensing) |
| Protection type | IP20 |

Operational instructions

KTS011-NO: (Normally Open). Which is used to control the heat dissipation device and the signal device.

When the actual temperature is lower than the set temperature, the circuit is disconnected, equipment stop.

When the actual temperature is higher than the set temperature, the circuit is connected, equipment start-up.

KTO011-NC: (Normally closed). Which is used to control the heating device.

When the actual temperature is lower than the set temperature, the circuit is connected, equipment start-up.

When the actual temperature is higher than the set temperature, the circuit is disconnected, equipment stop.

Example of Connection: